## Sheet2
Item No. | Product Type | Product Model | Description
1 | Hydrant | NF-H1 | Type: Wet barrel, Above Ground Body Material: Cast Iron, Ductile Iron Size: 3” and 4” Connection Type: BS or Storz
2 | Hydrant | NF-H1 | Type: Dry barrel, Under Ground Body Material: Cast Iron, Ductile Iron Size: 3” and 4” Connection Type: BS or Storz
3 | Hydrant | NF-H2 | Type: Wet barrel, Above Ground Body Material: Cast Iron, Ductile Iron, Bronze Size: 4” and 6” Connection Type: BS or Storz
4 | Hydrant | NF-H2 | Type: Dry barrel, Under Ground Body Material: Cast Iron, Ductile Iron, Bronze Size: 4” and 6” Connection Type: BS or Storz
5 | Hydrant | NF-H3 | Type: Underground Valve Body Material: Cast Iron, Ductile Iron Size: 3” Connection Type: BS or Storz
6 | Hydrant | NF-H5 | Type: Stand Pipe, Wet Barrel Size: Flexible Body Material: Cast Iron Connection Type: BS or Storz
7 | Monitor | NF-M1 | Body Material: Carbon Steel, Bronze Water or Foam Nozzle Hand Lever
8 | Monitor | NF-M2 | Body Material: Bronze Water or Foam Nozzle Hand Wheel
9 | Monitor | NF-M3 | Body Material: Aluminum Alloy Type: Portable Water or Foam Nozzle Hand Wheel

## Sheet3
Item No. | Product Type | Product Model | Description
10 | Monitor | NF-M4 | Body Material: Ductile Iron Type: Double Gun Water and Foam Nozzle Hand Wheel Fixed /Trolley
11 | Monitor | NF-M5 | Body Material: Bronze Type: Self Oscillating Water or Foam Nozzle Hand Lever
12 | Monitor | - | Remote Control or Automatic Monitor CE Marked Size: 4” and 6” Made in Italy
13 | Hydrant Valves | NF-V1 | Size: 4” Body Material: Bronze Type: Gate
14 | Hydrant Valves | NF-V2 | Inlet Size: 3” Flanged or 2 ½” Thread Outlet Connection: 2 ½” BS-336 Body Material: Bronze Type: Gate, Yoke Type and OS&Y
15 | Hydrant Valves | NF-V3 | Inlet Size: 3” Flanged or 2 ½” Thread Outlet Connection: 2 ½” BS-336 Body Material: Bronze Type: Gate
16 | Hydrant Valves | NF-V4 | Inlet Size: 3” Flanged or 2 ½” Thread Outlet Connection: 2 ½” BS-336 Body Material: Bronze Type: Globe, Straight and Bib-nose Model
17 | Fire Fitting | - | Couplings All Types of BS and Storz Connections
18 | Fire Fitting | - | Adaptors All Types of BS and Storz Connections
19 | Fire Fitting | - | Caps All Types of BS and Storz Connections
20 | Safety Shower and Eye Washer | NF-SS | Body Material: Stainless Steel and Galvanized Steel Foot Panel and Push Handle Operation

## Sheet4
Item No. | Product Type | Product Model | Description
21 | Hose Box | NF-HB | Indoor or Outdoor Any type of box style and size
22 | Hose Reel | NF-HR | Indoor or Outdoor Any configuration
23 | Foam Proportioner | FireDos® | Water Driven Foam Proportioner FM, VdS, GL, GOST, TVL, CE, … SEAWATER and FRESH WATER Variety of sizes: from 500LPM to 20000LPM Variety of types: Fixed, Portable, Mobile in Truck Made in Germany
24 | Foam Maker for Condensate Tanks | RIM-SEAL Foam Pourer | Body Material: Carbon Steel, Hot Deep Galvanized, Stainless Steel
25 | Foam Maker for Condensate Tanks | Foam Chamber | Body Material: Carbon Steel, Hot Deep Galvanized, Stainless Steel
26 | Nozzle | NF-Z1 | Body Material: Bronze, Aluminum Inlet: 2 ½” BS-336
27 | Nozzle | NF-Z2 | Peacock Tail Nozzle (Water Curtain) Inlet: 2 ½” BS-336 Body Material: Bronze, Aluminum
28 | Nozzle | NF-Z3 | Water Nozzle Body Material: Bronze Inlet: 2 ½”
29 | Nozzle | NF-Z3 | Foam Nozzle Body Material: Bronze Inlet: 2 ½”
30 | Nozzle | - | Foam Nozzles

## Sheet5
Item No. | Product Type | Product Model | Description
31 | Deluge Valve |  | Types: Elastomeric (inbal), Spain Globe (Darling Muesco), USA/INDIA Globe (Cla-Val), Switzerland/USA Latch Type Pressure Balancer Dry Pipe System Pre-Action System Remote Control Valve Pressure Relief Valve Pressure Reducing Valve Pressure Control Deluge Valve Release Control Panel Actuation Type: Pneumatic, Electric
32 | Deluge Skid |  | Complete and customizable skid for Deluge Valves
33 | Fixed Foam Package |  | Consist of FireDos as Foam Proportioner, Deluge Skids, Local Control Panel, JBs…
34 | Automatic Rim Seal Fire Protection |  | CE marked, Stainless Steel and HdG Steel tanks, with Linear Heat Detector or Linear Pneumatic Actuation
35 | Inline Inductors |  | In variety of sizes and capacities
36 | High Back Pressure | NF-HBP | In variety of sizes and capacities
37 | Water Spray Nozzle | NF-FP | Type: Flat Pan Body Material: Brass, Stainless Steel Variety of Discharge Angles and K-Factors
38 | Water Spray Nozzle | NF-FC | Type: Full Cone Body Material: Brass, Stainless Steel Variety of Discharge Angles and K-Factors
39 | Water Spray Nozzle | NF-TS | Type: Thermospray Body Material: Brass, Stainless Steel Variety of Discharge Angles and K-Factors
40 | Water Spray Nozzle | NF-FS | Type: Fire Shield Body Material: Brass, Stainless Steel Variety of Discharge Angles and K-Factors

## Sheet6
Item No. | Product Type | Product Model | Description
41 | Sprinkler | NF-ST | Type: Water Sprinkler Sealed Thermospray
42 | Sprinkler | NF-FS | Type: Water/Foam Sprinkler Body Material: Stainless Steel, Brass, Bronze
43 | Sprinkler |  | Type: Water Sprinkler Automatic, By breaking Bulb
44 | Siamese Connection | NF-SC | Inlet: 2×2 ½” male BS-336 with Check Valve Outlet: 4” Flanged Body Material: Bronze, Cast Iron
45 | Fire Hose |  | UL-Listed FM-Approved Ordinary and Chemical resistance Coated
46 | Collecting |  | According to BS-336 or Storz
47 | Breaching |  | According to BS-336 or Storz
48 | Post Indicator Valve | NF-PIV | Variety of Sizes: 3” to 20” Body Material: Cast Iron, Ductile Iron, Al-Bronze
49 | Post Plate Valve | NF-PPV | Variety of Sizes: 3” to 20” Body Material: Cast Iron, Ductile Iron, Al-Bronze
50 | Fusible Plug |  | Variety of Melting Temperatures: 60o-229o Variety of Connection Sizes: 1/8 inch to 1inch NPT Body Material: Brass- Bronze, Stainless Steel
51 | Other Fire Fighting Accessories |  | Wind Sock CO2 Extinguishers Dry Powder Extinguishers Water Extinguisher Foam Extinguisher Foam Maker Trolley Fire Man Suit Protection Suit Breathing Apparatus First Aid Kit Flame Torch …